## EU AI Act Classification
EU AI ACT RISK CLASSIFICATION — ClinicalCompanion v1.0
SECTION A: Risk Classification (YOUR ANALYSIS)
Step | Question | Your Answer | Evidence / Justification | Article Reference | Result
1 | Does the system engage in any prohibited practices under Article 5? | No | model does not use subliminal techniques, exploit vulnerabilities, or utilize social scoring. | Article 5 | PASS
2 | Is the system a safety component under EU harmonisation legislation (Annex I)? | Yes | safety component under MDR 2017/745 (Rule 11, Class IIb) for medical diagnostic software. | Article 6(1), Annex I | QUALIFIED
3 | Does the system fall under any Annex III high-risk category? | Yes | Falls under Annex III, Point 5 (Healthcare) as it assists in critical medical triage and diagnostic decisions. | Annex III | QUALIFIED
4 | FINAL CLASSIFICATION | HIGH-RISK | System is High-Risk under Article 6(1) and 6(2) of the EU AI Act. | Article 6 | HIGH-RISK
HIGH-RISK
SECTION B: Compliance Gap Analysis (Articles 8-15) | ClinicalCompanion is a clinical decision support system assisting physicians with diagnosis. It qualifies as a medical device under MDR 2017/745 (Rule 11) and thus falls under Article 6(1)(b) as high-risk AI.
Article | Class IIa/IIb | Description | Your Status Assessment | Your Severity Rating | Your Remediation Plan
Article 9 | Risk Management System | Establish and maintain risk management system throughout AI lifecycle | IMPLEMENTED | Continuous risk lifecycle management plan established per ISO 14971 standards. | COMPLIANT
Article 9 | Risk Identification | Identify and analyze known and reasonably foreseeable risks | IMPLEMENTED | Risk register identifies 8 critical clinical/technical risks; mapped to NIST AI RMF. | COMPLIANT
Article 9 | Residual Risk Evaluation | Residual risk after mitigation must be judged acceptable | PARTIAL | Residual risk scores remain high for hallucinations (3.4%) pending clinical validation. | ON-GOING
Article 10 | Data Governance | Training/validation/testing datasets subject to appropriate governance | PARTIAL | Training sets governance documented; however, bias mitigation protocols for minority demographics need formalization. | ON-GOING
Article 10 | Dataset Representativeness | Datasets relevant, sufficiently representative, free of errors | GAP | Severe underrepresentation of Elderly and certain ethnic subgroups (Rare Diseases <72% accuracy). | CRITICAL GAP
Article 10 | Special Category Data | Appropriate safeguards for health data processing | IMPLEMENTED | Health data processed under Article 9(2)(h) GDPR; de-identification pipeline audited for SOC2. | COMPLIANT
Article 11 | Technical Documentation | Draw up technical documentation before market placement | PARTIAL | Technical docs draft complete; requires update with final clinical trial validation metrics. | ON-GOING
Article 12 | Record-Keeping | Automatic recording of events (logs) throughout system lifetime | IMPLEMENTED | Automatic logging of all diagnostic suggestions and physician override actions (SQL-backed). | COMPLIANT
Article 12 | Log Retention | Logs retained for appropriate period | IMPLEMENTED | Log retention set to 5 years per healthcare data requirements; integrity verified by checksums. | COMPLIANT
Article 13 | Transparency | Design to allow deployers to interpret output appropriately | IMPLEMENTED | System design enables physician to view confidence scores and 'Explain' rationale for outputs. | COMPLIANT
Article 13 | Instructions for Use | Provide instructions for use to deployers | PARTIAL | User manual available; requires simplified 'Quick Start' for emergency clinical triage. | ON-GOING
Article 14 | Human Oversight | Design to allow effective human oversight during use | IMPLEMENTED | Mandatory 'Human-in-the-loop' workflow; physicians must sign-off each suggestion. | COMPLIANT
Article 14 | Override Capability | Enable deployer to override or reverse AI output | IMPLEMENTED | Native override capability in UI; system tracks override rates to detect automation bias. | COMPLIANT
Article 15 | Accuracy | Achieve appropriate level of accuracy for intended purpose | PARTIAL | Overall Top-3 accuracy (91.7%) meets target, but inconsistent across disaggregated subgroups. | ON-GOING
Article 15 | Robustness | Resilient to errors, faults, inconsistencies; adversarial resilience | IMPLEMENTED | System resilient to 99% of edge-case artifacts (noise) in medical imaging inputs. | COMPLIANT
Article 15 | Cybersecurity | Cybersecurity measures appropriate to risk level | IMPLEMENTED | AES-256 encryption and MFA required. Penetration testing (2024) found no critical vulnerabilities. | COMPLIANT
SECTION C: Your Classification Summary
Overall Risk Level: | HIGH-RISK
Number of Critical/High Gaps: | 6 Critical/High gaps identified.
Timeline to Compliance: | 3 months (expected before Sep 2025 launch)
Key Recommendation for the Board: | System is High-Risk. Launch is tentative pending remediation of dataset representativeness gaps and final MDR audit.

## Risk Register
RISK REGISTER — ClinicalCompanion v1.0 (NIST AI RMF)
Risk ID | Risk Category | NIST RMF Function | Risk Description | Risk Owner | Likelihood (1-5) | Impact (1-5) | Risk Score (L×I) | Priority | Your Mitigation Strategy | Mitigation Status | Your Residual Likelihood | Your Residual Impact | Residual Score
R-001 | Technical | Measure | Clinical hallucinations: Model generates plausible but fabricated medical references or diagnostic suggestions not supported by evidence (current rate: 3.4%) | VP Engineering | 4 | 5 | 20 | Critical | Implement output verification layer cross-referencing curated medical KB; add confidence thresholds; establish physician feedback loop for hallucination reporting | In Progress | 2 | 5 | 10
R-002 | Ethical / Bias | Map | Demographic bias: Training data underrepresents Eastern European, Sub-Saharan African, and Southeast Asian populations, leading to potential diagnostic disparities | Chief Medical Officer | 4 | 4 | 16 | High | Stratified performance audits across demographics; augment training data; implement bias monitoring dashboards; establish fairness thresholds per EU AI Act Art. 10 | Planned | 2 | 4 | 8
R-003 | Legal / Regulatory | Govern | EU AI Act non-compliance: Failure to complete conformity assessment before market entry could result in penalties up to 3% of global turnover and deployment prohibition | Head of Compliance | 3 | 5 | 15 | High | Engage Notified Body for conformity assessment; complete technical documentation per Art. 11-12; track regulatory deadlines | In Progress | 1 | 5 | 5
R-004 | Privacy / Security | Manage | Patient data re-identification: Residual re-identification risk through quasi-identifier combinations or model memorization of training data patterns despite de-identification pipeline | Data Protection Officer | 3 | 5 | 15 | High | Quarterly re-identification risk assessments; differential privacy for fine-tuning; enhanced de-identification for edge cases; membership inference testing | Partial | 2 | 5 | 10
R-005 | Operational | Manage | Foundation model vendor dependency: FoundationHealth Inc. controls model weights, update cadence, and API availability. Unilateral updates could alter clinical performance; discontinuation would halt operations | VP Engineering | 3 | 4 | 12 | High | Contractual protections (versioning, rollback, 90-day notice); fallback model strategy; regression testing for vendor updates; explore model distillation | Planned | 2 | 4 | 8
R-006 | Technical | Measure | Model drift: Performance degradation over time due to evolving clinical practices, new diseases, or changing patient populations without adequate monitoring | VP Engineering | 3 | 4 | 12 | High | Continuous performance monitoring with automated alerts; quarterly re-validation; define performance floor thresholds triggering retraining or withdrawal | Planned | 2 | 3 | 6
R-007 | Ethical / Safety | Map | Automation bias: Physicians may over-rely on ClinicalCompanion suggestions without sufficient independent judgment, particularly under time pressure or fatigue | Chief Medical Officer | 3 | 5 | 15 | High | UI requires active physician confirmation; uncertainty indicators; mandatory user training; periodic physician override rate assessments | In Progress | 2 | 4 | 8
R-008 | Legal / Regulatory | Govern | Cross-border data transfer: Patient data flowing between EU infrastructure and US-based FoundationHealth API may violate GDPR Chapter V, particularly post-Schrems II | Data Protection Officer | 3 | 5 | 15 | High | EU-only processing where possible; Standard Contractual Clauses with FoundationHealth; Transfer Impact Assessment; explore EU-hosted model alternatives | In Progress | 2 | 4 | 8
[7 empty] | 0 | [5 empty] | 0
RISK SUMMARY (auto-calculated from your entries above)
Total Risks: | 8 |  | Average Risk Score: | 15
Critical (20-25): | 1 |  | Max Risk Score: | 20
High (15-19): | 5
SCORING GUIDE
Likelihood | 1 = Rare | 2 = Unlikely | 3 = Possible | 4 = Likely | 5 = Almost Certain
Impact | 1 = Negligible | 2 = Minor | 3 = Moderate | 4 = Major | 5 = Catastrophic
Priority | Critical: 20-25 | High: 15-19 | Medium: 10-14 | Low: 5-9 | Minimal: 1-4

## Vendor Evaluation
THIRD-PARTY AI VENDOR EVALUATION — FoundationHealth Inc.
SECTION A: Vendor Profile (reference data)
Company Name: | FoundationHealth Inc.
Founded: | 2021
Headquarters: | San Francisco, CA, USA
Funding: | Series C ($180M, 2024)
Employees: | 450
Revenue: | $85M (60% YoY, not yet profitable)
Certifications: | soc2_type2, iso_27001
SLA Uptime: | 99.9%
SECTION B: Evaluation Scorecard — enter scores from your notebook analysis
Category | Criteria Count | Your Total Score | Max Score | Your Score % | Your Risk Level | Key Finding
Model Transparency & Documentation | 5 | 15 | 25 | 60% | Medium Risk | Disclosed model architecture and benchmarks, but specific dataset sources and failure modes are undocumented.
Data Privacy & Security | 6 | 25 | 30 | 83.33% | Low Risk | Strong certifications (SOC2, HIPAA) and encryption; however, TIA for EU-US transfer is missing.
Model Governance & Lifecycle | 5 | 15 | 25 | 60% | Medium Risk | Standard versioning and rollback in place; but lack of disaggregated fairness testing for EU demographics.
Contractual & Business Continuity | 18 | 18 | 30 | 60% | Medium Risk | Solid uptime SLA and DR plans, but high vendor lock-in risk and startup financial dependency.
Regulatory & Ethical Alignment | 15 | 15 | 25 | 60% | Medium Risk | Principles aligned with OECD but lack of ISO 42001 and formalized external AI ethics review.
OVERALL | 27 | 88 | 135 | 65.19% | Medium Risk | Overall vendor risk is Medium; suitable for pilot but requires mitigation for full clinical rollout.
Scoring guide: | >=80% = Low Risk | 60-79% = Medium Risk | <60% = High Risk
SECTION C: Your Vendor Recommendation
Recommendation: | Conditional Approval (Pilot Phase Only)
Key Strengths: | Strong security posture (SOC2/HIPAA) and established clinical performance benchmarks.
Key Weaknesses: | High vendor lock-in, lack of ISO 42001 certification, and opaque training data composition.
Required Mitigations: | Requirement for quarterly performance audits across EU demographics and internal hallucination monitoring.
Contractual Requirements: | Establishment of SCCs and TIAs; escrow agreement for model weights; 90-day notification for performance-impacting updates.

## Model Card
MODEL CARD — ClinicalCompanion v1.0 (Mitchell et al., 2019)
1. MODEL DETAILS (reference data)
Model Name: | FoundationHealth Medical LLM v3.2
Version: | 1.0
Type: | Clinical Decision Support System (CDSS)
Developer: | MedAssist AI
Planned Release: | 2025-09-01
Architecture: | Transformer-based, 7B parameters
Access Method: | API
Provider: | FoundationHealth Inc.
2. INTENDED USE (reference data)
Primary Functions: | Ranked diagnostic suggestions with confidence scores; Differential diagnosis support with reasoning; Evidence-based treatment considerations mapped to clinical guidelines; Risk flags for critical findings, drug interactions, deteriorating status
Intended Users: | Licensed physicians (primary care and specialists); Clinical fellows and residents (under attending supervision); Nurse practitioners and physician assistants (where authorized)
Out-of-Scope: | Autonomous diagnosis or treatment decisions; Standalone diagnostic tool (must not replace physician judgment); Patient-facing interface (no direct patient use); Pediatric populations (under 18) in initial release; Emergency triage as sole decision-making tool
3. TRAINING DATA (reference data)
Partner Hospital Network A (EU) | 280,000 records | Germany, France, Netherlands | EHR encounters
Partner Hospital Network B (US) | 170,000 records | United States (multi-state) | EHR encounters
PubMed Abstract Corpus | 2,100,000 records | Global | Medical literature abstracts
Expert Clinical Q&A | 12,000 records | EU, US | Curated Q&A pairs
Clinical Practice Guidelines | 340 records | EU, US, WHO | Practice guidelines
Total Records: | 2,562,340
4. KEY PERFORMANCE METRICS (from performance_metrics.csv)
Overall Top-3 Accuracy: | 91.7%
Hallucination Rate: | 3.4%
Critical Finding Detection: | 94.2%
Average Response Time: | 2.8s
Physician Override Rate: | 89.5%
5. DISAGGREGATED PERFORMANCE (from performance_metrics.csv)
Gender Parity: | 0.96 (ratio)
Age Groups: | 88.9%
Specialty - Cardiovascular: | 94.1%
Specialty - Neurological: | 90.3%
Specialty - Rare Diseases: | 71.2%
Language - Non-English: | 84.3%
Complexity - Multi-morbidity: | 74.0%
6. FAIRNESS METRICS (from performance_metrics.csv) | 0.96 (ratio)
Equalized Odds: | 0.91 (ratio)
Demographic Parity: | 0.94 (ratio)
Predictive Parity:
7. YOUR FAIRNESS ANALYSIS
Gender Parity Assessment: | Performance is consistently high (91-92% accuracy) for both genders (ratio 0.96), showing no significant bias.
Age Group Equity: | While 18-64 groups exceed 90%, accuracy for patients over 65 drops to 88.9%. Ongoing monitoring required.
Underserved Populations: | Rare Diseases (71.2%) and Multi-morbidity (74.0%) performance is SIGNIFICANTLY below target, indicating lower model reliability.
Fairness Metrics Interpretation: | Fairness metrics (ratio 0.91-0.96) indicate high system-level fairness, though subgroup gaps must be mitigated.
8. YOUR ETHICAL CONSIDERATIONS
Bias Concerns: | Disparity in complex cases could lead to diagnostic inequity if HITL protocols are not strictly followed.
Patient Safety: | The hallucination rate (3.4%) exceeds target (<2%). This is a critical safety concern requiring physician verification.
Automation Bias: | Risk of automation bias where clinicians may defer to model recommendations under high patient load.
Data Privacy: | GDPR and EU AI Act compliance requires continuous PII scanning and audit logging for EHR data access.
9. YOUR LIMITATIONS & RECOMMENDATIONS
Known Limitations: | Performance degrades for non-English notes (84.3%) and multi-morbidity (74.0%). Sub-target detection for rare diseases.
Recommendations: | 1) Immediate HITL for low-confidence subgroups. 2) Data augmentation for complex pathologies. 3) Confidence scoring transparency.

## Monitoring & Incidents
POST-DEPLOYMENT MONITORING & INCIDENT RESPONSE PLAN
SECTION A: Key Performance Indicators (reference data)
KPI ID | Dimension | Metric Name | Measurement Method | Frequency | Threshold | Escalation Trigger | Responsible Role
KPI-001 | Clinical Performance | Top-3 Diagnostic Accuracy | Comparison against physician-confirmed diagnoses (sampled) | Weekly (sampled), Monthly (full) | >= 90% | Drops below 88% for 2 consecutive weeks | Data Science Team
KPI-002 | Clinical Performance | Hallucination Rate | Automated reference verification + physician flagging | Daily (auto), Weekly (manual) | < 2% (current: 3.4%) | Exceeds 5% or any critical hallucination | Data Science Team
KPI-003 | Clinical Performance | Critical Finding Detection | Audit against known critical cases in test set | Monthly | >= 93% | Drops below 90% | Clinical Safety Officer
KPI-004 | Clinical Performance | False Positive Rate (Critical) | Review of physician dismissal rates for critical alerts | Weekly | < 10% | Exceeds 15% | Data Science Team
KPI-005 | Clinical Performance | Drug Interaction Precision | Comparison against PharmaDB ground truth | Monthly | >= 85% | Drops below 80% | Data Science Team
KPI-006 | Fairness & Bias | Accuracy Parity (age groups) | Stratified accuracy comparison across age brackets | Monthly | Max gap < 5% across standard groups | Any group drops >7% below overall | AI Governance Analyst
KPI-007 | Fairness & Bias | Accuracy Parity (gender) | Stratified accuracy by gender | Monthly | Max gap < 3% | Gap exceeds 5% | AI Governance Analyst
KPI-008 | Fairness & Bias | Equalized Odds | FPR/FNR comparison across demographics | Quarterly | >= 0.90 across groups | Drops below 0.85 for any group | AI Governance Analyst
KPI-009 | Fairness & Bias | Underrepresented Pop. Performance | Dedicated evaluation on underrepresented data | Quarterly | Improving trend toward parity | Performance gap widening | Chief Medical Officer
KPI-010 | Operational | System Uptime | AWS CloudWatch infrastructure monitoring | Real-time | >= 99.9% | Drops below 99.5% in any month | VP Engineering
KPI-011 | Operational | Average Response Latency | API response time tracking | Real-time | < 5 seconds (p95) | p95 exceeds 8 seconds | VP Engineering
KPI-012 | Operational | API Error Rate | HTTP error code monitoring | Real-time | < 0.1% | Exceeds 1% | VP Engineering
KPI-013 | Operational | Vendor API Availability | FoundationHealth API health checks | Real-time | >= 99.9% per SLA | Any outage > 15 minutes | VP Engineering
KPI-014 | Data Quality | Input Data Completeness | Validation of required EHR fields | Per-request | >= 95% completeness | Drops below 90% | Data Science Team
KPI-015 | Data Quality | De-identification Validation | Automated PII scanning of model inputs | Daily | 0 PII leaks | Any PII detected in model input | Data Protection Officer
KPI-016 | Data Quality | Data Drift Detection | Statistical comparison of input distributions vs training data (KL divergence) | Monthly | KL divergence < 0.1 | KL divergence exceeds 0.2 | Data Science Team
SECTION B: AI-Specific Incident Taxonomy (from incident_types.csv)
Incident ID | Incident Type | Description | Example | Severity Range | Detection Method
INC-01 | Clinical Hallucination | Model generates fabricated medical information, references, or diagnoses | Recommending a drug that does not exist or citing a non-existent clinical trial | S2-S1 | Automated reference verification, physician flagging
INC-02 | Harmful Suggestion | Model output could lead to patient harm if followed | Suggesting contraindicated medication for documented allergy | S1 | Physician reporting, safety filter logs
INC-03 | Bias-Related Harm | Model demonstrates systematic bias affecting care quality for specific groups | Consistently lower diagnostic accuracy for a specific ethnic or age group | S2-S1 | Stratified performance monitoring, fairness dashboards
INC-04 | Privacy Breach | Patient identifiable information exposed through model behavior | Model outputs patient name or MRN in response (de-identification failure) | S1 | Automated PII scanning, audit log review
INC-05 | Performance Degradation | Significant drop in model accuracy or reliability | Top-3 accuracy drops below 85% across all cases | S3-S2 | Automated KPI monitoring alerts
INC-06 | Adversarial Manipulation | Deliberate attempt to manipulate model outputs | Prompt injection via crafted clinical notes to alter diagnostic suggestions | S2-S1 | Security monitoring, anomaly detection
INC-07 | Vendor Service Disruption | FoundationHealth API outage or significant degradation | API returns errors, timeouts, or unacceptable latency for >15 minutes | S3-S2 | Real-time API health checks
INC-08 | Data Pipeline Failure | Failure in data ingestion, de-identification, or processing | De-identification engine fails; raw patient data sent to model API | S1 | Pipeline health monitoring, automated validation
INC-09 | Unauthorized Access | Unauthorized user gains access to system or data | Compromised physician credentials used to query ClinicalCompanion | S2-S1 | Authentication logs, SIEM alerts
INC-10 | Regulatory Non-Compliance | Discovery of non-compliance with applicable regulations | Post-market monitoring requirement not met per EU AI Act deadline | S3-S2 | Compliance calendar, internal audit
SECTION C: Severity Classification & Response Times (from severity_levels.csv)
Severity | Label | Definition | Response Time | Response (hours) | Containment Action | Incident Commander
S1 | Critical | Immediate risk to patient safety or major regulatory violation; system must be halted | Immediate (30 min) | 0.5 | Suspend ClinicalCompanion in affected facilities; notify users; preserve logs; activate full response team; notify regulators if required (Art. 62) | Chief Medical Officer
S2 | High | Potential risk to patient safety or significant compliance issue; urgent action required | Within 2 hours | 2 | Restrict affected functionality; increase monitoring; notify facility admins; begin root cause analysis | VP Engineering
S3 | Medium | Degraded performance or moderate compliance concern; prompt action needed | Within 24 hours | 24 | Implement temporary guardrails; increase monitoring for affected metrics; schedule fix in next sprint | AI Governance Analyst
S4 | Low | Minor issue with limited impact; scheduled resolution acceptable | Within 1 week | 168 | Log incident; track in backlog; address in standard development cycle | Data Science Team Lead
SECTION D: Your Escalation & Communication Procedures
Internal Escalation Path: | Technical alert (S1/S2) triggers immediate notification to Incident Commander (CMO/VP Eng) and AI Governance Lead. Root cause analysis (RCA) initiated within specified response window.
External Notification (Regulatory): | In the event of a serious incident (patient harm or major PII breach), EU AI Act Article 62 notification to the competent authority is required within 15 days.
Communication to Affected Users: | Affected healthcare providers notified via ClinicalCompanion in-app alert or direct email if system suspension is required. Communication handled by the Medical Affairs team.
Lessons Learned Process: | Post-incident review (PIR) conducted by AI Governance Committee within 1 week of resolution. Findings to be incorporated into the next model update or guardrail iteration.
Monitoring Gaps You Identified: | Quarterly review of monitor coverage. Current gaps identified: drift monitoring for edge-case lung pathologies and long-term diagnostic bias tracking for minority subgroups.

## Executive Summary
EXECUTIVE GOVERNANCE SUMMARY — BOARD BRIEFING
Synthesize ALL your findings from the notebook and previous sheets into a board-ready summary.
ClinicalCompanion v1.0 — Clinical Decision Support System (CDSS)
1. SYSTEM OVERVIEW | Generative AI-powered system that assists physicians with diagnostic suggestions by analyzing patient records
System: | Target Launch: 2025-09-01 (EU market scope)
Purpose: | Clinical decision support for pulmonary pathology diagnosis.
Target Market: | EU and North American healthcare markets (B2B SaaS).
2. RISK CLASSIFICATION
EU AI Act Classification: | High-Risk AI System (Safety Component / Annex II).
MDR Classification: | Class IIb (Software for diagnostic decisions).
Key Regulatory Obligations: | Articles 8-15: Quality Management, Technical Docs, Logging, Transparency, Oversight.
3. COMPLIANCE READINESS
Overall Readiness: | CONDITIONAL READINESS
Critical Gaps: | 6 Critical/High gaps: Dataset Representativeness, MDR Certification, Hallucination Guardrails, Transparency Documentation, Joint RCA protocol, and EU demographics audit.
Timeline to Full Compliance: | 3 months (expected before Sep 2025 launch)
4. KEY RISKS
Top Risk: | Hallucination Risk (Critical): 3.4% rate exceeds target, requiring verification guardrails.
Risk Landscape: | Assessments identified 8 risks. Overall average risk score of 15.0.
Mitigation Effectiveness: | Mitigations effective, reducing total risk score by 47.5%.
5. VENDOR ASSESSMENT
Vendor: | FoundationHealth Inc.
Recommendation: | Conditional launch; monitor vendor performance for hallucination improvements.
Key Concern: | Proprietary model 'black-box' nature and dependence on vendor uptime SLA.
6. MODEL PERFORMANCE
Overall Accuracy: | Top-3 Accuracy at 91.7% meets overall target (90%).
Fairness Concerns: | Performance gaps in Rare Diseases (71.2%) and Elderly (88.9%) subgroups.
Critical Issue: | Hallucination rate at 3.4% requires additional RAG-based verification layers.
7. BOARD RECOMMENDATION
Launch Readiness: | CONDITIONAL READINESS
Conditions for Launch: | Must close Article 10 gaps and obtain final MDR certification.
Required Actions (prioritized): | 1. Patch dataset gaps; 2. Implement safety filter; 3. Finalize Notified Body audit.
Estimated Time to Readiness: | 3 months (expected before Sep 2025 launch)